Current References

MCO 4790.2

ForO 4790.3B

TM 4700-15/1H

UM 4400-125

MCO 4733.1C

TI 4733-OD/1

TI 4733-OD/10

TM 10510-OD/1Q

MMPN

Field Level Maintenance Management Policy (FLMMP) outlines basic maintenance management procedures to include calibration control procedures (ch 4, section 5, pgs 4-3 and Appendix A, section 3, sub-section M, pg A-4)

A focused version of MCO 4790.2 used to establish standard operating procedures for maintenance management including calibration control procedures by Marine Forces Reserve (MARFORRES). (ch 2,section 11, pgs 2-11 to 2-12)

Ground Equipment Record Procedures provides detailed instructions for preparation, use and disposition of forms/records for Marine Corps Ground Equipment to include calibration control procedures. (ch 2, para 2-7,  pg 2-7-1)

Retail Supply and Maintenance Execution Procedures, or the GCSS-MC User’s Manual for short. Any information you need to open/close service requests, apply changes to Install Base Records concerning calibrations or calibration scheduling. (part 4, ch 4, pg 540, and ch 6, pg 561 to 578)

The governing order pertaining to the calibration of TMDE to include proper scheduling and other responsibilities. (para 6, sub para A, section (1(a)) – (1(h)) and section (3(d)), pgs 2 to 4)

Determines marking requirements for TMDE with specific labels and/or tags and identifies which type of calibration is required for each individual TMDE item. (para 7, sub para D, sections (1) to (3), section (4(c)(d)), section (5) pgs 3 to 4 and Enclosure 2, pg 5)

Provides instructions for the proper calibration of Torque Tools having a TMDE classification

General Purpose Test, Measurement and Diagnostic Equipment (TMDE) Listing

Maintenance Management Policy Notices released by the Commanding Officer provide additional guidance to maintenance activities already referenced in the unit MMSOP. See Regimental Policy Letter 2-16 in section library for commodity applicability.