UNITED STATES MARINE CORPS

31ST MARINE EXPEDITIONARY UNIT

UNIT 35621

FPO AP 96606-5621

IN REPLY REFER TO:

4790

ARM

15 Oct 12

From:  Motor Transport Officer in Charge, 31st Marine Expeditionary Unit

To:    Commanding Officer, 31st Marine Expeditionary Unit

Via:   Maintenance Management Officer, 31st Marine Expeditionary Unit

Subj:  ANNUAL TEST MEASUREMENT AND DIAGNOSTICS EQUIPMENT (TMDE) VALIDATION

RESULTS, FY13

Ref:   (a) MCO P4790.2C

(b) TM 4700-15/1H

Encl:  (1) Annual TMDE Validation FY13

1.  In accordance with the references, an annual TMDE validation was conducted by the Motor Transport section for FY13.  All TMDE has been identified, is properly reported, and is in the correct calibration category within the commodity.

2.  During the validation all TMDE was reviewed to ensure the following:

a.  All authorized equipment is on hand or on order.

b.  All equipment is serviceable.

c.  All equipment is assigned the appropriate level of calibration.  When practical, the commodity took advantage of the use of special calibration and calibration not required (CNR).

d.  The calibration dates of like items are staggered to ensure maximum availability of equipment at all times.

e.  Global Combat Support System–Marine Corps (GCSS-MC) is used to record TMDE when applicable.

3. The point of contact is for this matter is Sergeant First M. Last at DSN 315-623-1234 or first.m.last@usmc.mil.

I. M. MANAGER